This checklist is kept up to date at www.ru.ac.za/safety/checklists	[last update: 27 May 2013]

QUARTERLY INSPECTION REPORT: RHODES UNIVERSITY PORTABLE ELECTRICAL EQUIPMENT

NB: If any faults are recorded, HOD/Manager/Supervisor must see report & countersign. Keep copy on file for at least 3 years.

| Inspection by Name Surname: |  |  | SIGNED: |  |  | COUNTERSIGNED by HOD/Manager/Supervisor: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Building: |  |  | Number of Office / Lab / Room: |  |  |  | Date: |  |

|  | Type of Equipment | Dissecting microscope |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | RU Asset Number: | 543211 |  |  |  |  |  |  |  |  |
|  | Location of Equipment (Building / Room): | Example Lab |  |  |  |  |  |  |  |  |
|  | Condition [OK = good condition / N = needs attention] | OK / N | OK / N | OK / N | OK / N | OK / N | OK / N | OK / N | OK / N | OK / N |
|  | No obvious signs of damage to the equipment casing, cable or plug. | OK |  |  |  |  |  |  |  |  |
|  | No signs of overheating on casing, cable or plug. | OK |  |  |  |  |  |  |  |  |
|  | Equipment positioned to avoid strain on cables. | OK |  |  |  |  |  |  |  |  |
|  | Positioned to avoid contact with dampness or water. | OK |  |  |  |  |  |  |  |  |
|  | Cable will not create tripping hazards. | OK |  |  |  |  |  |  |  |  |
|  | Cable placed so it cannot be damaged (e.g. not trapped by furniture or door). | N |  |  |  |  |  |  |  |  |
|  | No overloading of extension leads or multi-plugs. | N |  |  |  |  |  |  |  |  |
|  | Equipment ventilation points not obstructed. | OK |  |  |  |  |  |  |  |  |
|  | Position of suitable fire extinguisher (CO2 or dry powder) noted by all users. | OK |  |  |  |  |  |  |  |  |
|  | Additional comments and actions taken. | Req. 7654321 01/01/2010 |  |  |  |  |  |  |  |  |

More info:  RU Safety Health & Environmental (SHE) Officer: 046 603 7205, safety@ru.ac.za or visit www.ru.ac.za/safety